## Slide 1
Cary Smith CEM CGD CEA CGI AEE Fellow
President Sound Geothermal Corporation
  26 Years in Oil & Gas Industry, 27 years in Groundsource.
  AEE Fellow and founding Member of The GreyEdge Group.
  Primary design-developer of Ambient Temperature Loops (ATL) one-pipe district systems.
  Chair - IAPMO USHGC Code and ATL Standard Committee Member IAPMO Uniform Mechanical Code Committee.
  Working on innovative low, medium and high temperature ground source systems.
SGT is an innovative design group focusing on energy saving building technologies utilizing ground source heat pump systems and/or other renewable energy systems as a core technology. SGT has contributed to the development and innovation of low temperature geothermal applications.

## Slide 2
ATL District Systems Overview
Energy harvested, moved, and reused
Cary Smith CGD CEM CEA CGI
Powered by R-718 Technology ©
Ambient Temperature Loops (ATL’s):
The Thermal (Energy) Highway

## Slide 3: ATL - A Subset of TENs
Ambient Temperature Loops are a unique and versatile solution.
  One-pipe system
  Captures diversity
  Emphasizes borehole thermal storage
  Distributed part load assets
  Low temperature, no antifreeze

## Slide 4
Ambient Temperature One-Pipe District Loops
Sound Geothermal Corporation 2021©
Duplication and Use allowed with proper credit
© Sound Geothermal Corporation 2021. All rights reserved. This content is excluded from our Creative Commons license. For more information, see https://ocw.mit.edu/help/faq-fair-use/

## Slide 5
ATL One-pipe Plug and Play Diagram - Assets
Copywrite: Sound Geothermal Corporation 2021©
Duplication and Use allowed with proper credit
© Sound Geothermal Corporation 2021. All rights reserved. This content is excluded from our Creative Commons license. For more information, see https://ocw.mit.edu/help/faq-fair-use/

## Slide 6: CMU’s Central Loop & GMS
Global Demand Limit
Sound Geothermal Corporation 2021©
Duplication and Use allowed with proper credit
© Sound Geothermal Corporation 2021. All rights reserved. This content is excluded from our Creative Commons license. For more information, see https://ocw.mit.edu/help/faq-fair-use/

## Slide 7
Emissions Free CHP+S Sites
Emissions Free CHP+S Sites
Utility Solar PVT Farm
Heat Exchanger Panels
PV Panels
Run-of-River Turbines
Electric Storage
Integrated Plug and Play Electric / Thermal Energy Systems
Inter-Connected Thermal Distribution Circuits
Recycled Thermal Energy
Ambient Temperature Water (45-85 Degrees)
Conventional CHP
Micro-Grid Isolation
Emissions Free Electric Power
Telecom
Grid-Enabled Monitoring & Intelligent Control
Cooling Towers
Cooling Heating Dominant Balanced Dominant
Buildings
Residential, Commercial, Industrial
Solar PVT
Heat Exchange Panels
PV Panels
Multi-Source Heat Pumps
Ground Source Heat Pumps
Air Source Heat Pumps
Wastewater Heat Exchangers
Chillers
Industrial Waste Heat Capture
Electric Storage
Vehicle Charging
Ground Heat Exchangers
Thermal Storage
Water Source Heat Exchangers
Sound Geothermal Corporation 2021©
Duplication and Use allowed with proper credit
© Sound Geothermal Corporation 2021. All rights reserved. This content is excluded from our Creative Commons license. For more information, see https://ocw.mit.edu/help/faq-fair-use/

## Slide 8
MIT OpenCourseWare
https://ocw.mit.edu/
RES.ENV 007 Geothermal Energy Networks (GENs): Transforming our Thermal Energy System
IAP 2025
For information about citing these materials or our Terms of Use, visit: https://ocw.mit.edu/terms.